## SOS by Frequency
Daily Services for SOS #1 – 7
Vacuum/sweep all carpeted and hard surface floors including spot clean stains. | Collected waste (trash) and recyclable material shall be disposed of at an appropriate waste (trash) or recycle materials dumpster(s).
All hard surface floors to be dusted and/or wet mopped including stairwells. | Trash receptacles will be maintained clean, disinfected, and free of odor.
Mopping with water only is not allowed. Cleaning agents and disinfectants conforming to the City of Berkeley’s Green Cleaning Policy (Exhibit 4) must be applied. Mop heads must always be kept clean & fresh, free from dirt and unpleasant smells. | Service windows, cabinetry and adjacent walls shall be kept clean, disinfected, and free of smudges, scuff markers, handprints, etc.
Carpeted and rubber scraper type floor mats must be maintained clean and spotless, free from dirt, mud, or other debris | Workstation furnishings and equipment window glass shall be clean and spotless.
Move furniture, mats and other equipment as needed to provide a thorough and complete service. | Clean and disinfect all tables, countertops chairs, refrigerators (exterior sides only), and vending machines within Lobbies, Conference & Break Rooms.
Clean and wash all exterior and interior door and adjacent window glass surfaces, frames and hardware included, at all public and employee entrances and exits. | All rooms with sink fixtures shall be provided with liquid soap and paper towels (roll or leaflet). Dispensers are provided.
Clean, disinfect, and polish all lobby furniture (desks, chairs, tables, etc.), cabinetry (display cases, directory, etc.), glass, signage, etc. | Countertops with sink units shall be cleaned and disinfected. Faucets and adjacent wall surfaces are to be kept free of water spots, stains, and runs.
Clean and disinfect all elevator compartments (as applicable). | All common room areas shall be maintained clean, sanitized, and fresh smelling.
Clean and disinfect all drinking fountains and filling stations. | Clean, sweep, and/or wash exterior building walkways, landings, stairwells, and ramps.
Clean, disinfect, and polish all handrails and other metal (brass, stainless steel, etc.) hardware. | Clean areas, even if not scheduled, if obvious cleaning is needed.
Wood finished surfaces to be kept clean, free of dust, and polished. | As scheduled & assigned – Day Porter Service (Cleaning service that provides ongoing upkeep during regular business hours)
Empty out all exterior and interior trash and recycle material receptacles. Provide plastic liners, no torn or dirty liners allowed. | Set/disarm alarm systems Secure doors and windows
Daily Restroom Services for SOS #1 – 7
Clean, wash and disinfect all sinks, urinals and commode fixtures. This includes tops, under-side and sides of all fixtures. | Floors to be swept/mopped kept clean and sanitized.
All plumbing fixture faucets, water lines, fasteners, etc., shall be kept free of buildup such as calcium, grime and limescale at all times. | All trash receptacles including receptacle for feminine products will be maintained clean, disinfected & emptied. The debris disposed of, and plastic liners replaced.
Clean and disinfect all dispensers and grab bars. | Day Porter Services – as scheduled & assigned, see Special Requirements section.
Clean and disinfect all mirrors and frames. | Clean, wash and disinfect all walls and ceiling surfaces, privacy partitions, tile, doors and hardware, etc.
Refill all soap (liquid), paper towels (roll/leaf), toilet tissue (roll), sanitary seat liners and feminine product dispensers. | Clean and disinfect all shower floors, fixtures, walls
and grout lines (as applicable).
Weekly Service for SOS #1 – 7
Remove cobwebs from all room area walls, ceilings, columns, furniture, etc. | Polish or spray buff hard surface floors
Trash receptacles shall be washed with appropriate cleaner and disinfectant if dirty, stained and/or smelling unpleasant. | Roll recycling bins and garbage cans to appropriate curb site on designated days.
Clean walls, door surfaces and hardware to keep free from dirt, spots, handprint grease/oil, smudges, scuff marks, etc. | (Restrooms) pour disinfectant water in floor drains to s prevent sewer odor.
Workstation furniture and related office furnishings, free of employee’s property (personal or work), shall be maintained clean and free from dust. Clean sides, tops, and faces of desks, wood/metal cabinetry and other office furnishings. | Common area high touch surfaces are to be maintained s clean and disinfected.
Monthly Services for SOS #1 – 7
Perform all high dusting (mini-blinds, door sashes, tops of partitions, HVAC registers, picture frames, etc.). Lockers in locker room (as applicable). | Clean and sanitize microwave(s).
As Needed Services for SOS #1 – 7
Emergency services as needed | Biohazard clean up emergencies
Universal Waste Disposal
Special Requirements per SOS &/or location
Scopes of services (SOS) #1-7 each have special requirements and services to be scheduled, assigned and performed in addition to universal services (daily, daily bathroom, weekly, monthly and as needed). The following list of special requirement service needs is by scope of service (SOS) &/or location.
Scope of Services #1 - Health, Housing & Community Services (HHCS)
Contractor shall schedule work to not interfere with business operations.
Service Schedule
Address | Frequency of daily/weekly services | Service Days | Service Hours
All Locations | 5 days a week | M, T, W, Th, F | After 4pm
Day Porter Service
Address | Service Days | Service Hours
2636 Martin Luther King Jr. Way | M, T, W, Th, F | 9am-1pm
2640 Martin Luther King Jr. Way
Six (6) Month Service
Service Needed | Address
Carpet cleaning/shampooing | 2640 Martin Luther King Jr. Way
(April and October) | 1521 University Ave.
VCT floor service (strip, wax & seal) | Various Locations
Annual Service
Service Needed | Address
Window cleaning inside and outside | All Locations
Scope of Services #2 - Public Works
Contractor shall schedule work to not interfere with business operations.
Service Schedule
Address | Frequency of daily/weekly services | Services Days | Service Hours
1947 Center St. | 5 days a week | M, T, W, Th, F | After 6pm
1901 Hearst St. | 5 days a week | M, T, W, Th, F | After 7pm
2939 Ellis St. | 5 days a week | M, T, W, Th, F | After 7pm
1900 Sixth St. | 5 days a week | M, T, W, Th, F | After 7pm
1011 University Ave. | 5 days a week | M, T, W, Th, F | After 7pm
2100 Martin Luther King Jr. Way | 7 days a week | Monday-Sunday | 24-hour Operations
Day Porter Service
Address | Services Days | Service Hours
1947 Center St. | M, T, W, Th, F | 11am-3pm
2100 Martin Luther King Jr. Way | Monday-Sunday | 7am-3:30pm
2100 Martin Luther King Jr. Way | Monday-Sunday | 5pm-1:30am
Six (6) Month Service
Service Needed | Address
Carpet cleaning/shampooing | 1901 Hearst St. – various office space(s)
(April and October) | 2939 Ellis St. – various office space(s)
1011 University Ave. – various office space(s)
VCT floor service (strip, wax & seal) | 1901 Hearst St. – various office space(s)
2939 Ellis St. – various office space(s)
Annual Service
Service Needed | Address
Carpet cleaning/shampooing | 1901 Hearst St. – various office space(s)
(April and October) | 2939 Ellis St. – various office space(s)
1011 University Ave. – various office space(s)
VCT floor service (strip, wax & seal) | 1901 Hearst St. – various office space(s)
2939 Ellis St. – various office space(s)
Scope of Services #3 - Parks, Recreation and Marina Waterfront
Contractor shall schedule work to not interfere with business operations.
Service Schedule
Address | Frequency of daily/weekly services | Services Days | Service Hours
1720 Eighth St. | 5 days a week | M, T, W, Th, F | After 7pm
1301 Shattuck Ave. | 5 days a week | M, T, W, Th, F | After 7pm
2800 Park St. | 5 days a week | M, T, W, Th, F | After 7pm
1730 Oregon St. | 5 days a week | M, T, W, Th, F | After 7pm
2701 Telegraph Ave. | 5 days a week | M, T, W, Th, F | After 7pm
127 University Ave. | 2 days a week | T, Th | After 6pm
201 University Ave. | 2 days a week | T, Th | After 6pm
Marina/Shorebird/South Cove | 7 days a week | Monday-Sunday | 24-hour Operations
Day Porter Service
Address | Services Days | Service Hours
127 University Ave. | N/A | As Needed
201 University Ave. | N/A | As Needed
Marina/Shorebird/South Cove | N/A | As Needed
Six (6) Month Service
Service Needed | Address
Carpet cleaning/shampooing | Various Locations
VCT floor service (strip, wax & seal) | Various Locations
Window cleaning inside and outside | 127 University Ave.
201 University Ave.
Annual Service
Service Needed | Address
Summer seasonal day porter services to be scheduled | Shorebird South Cove
Scope of Services #4 - Berkeley Fire Department
Contractor shall schedule work to not interfere with business operations.
Service Schedule
Address | Frequency of daily/weekly services | Service Days | Service Hours
997 Cedar St. | 5 days a week | M, T, W, Th, F | After 10pm
Day Porter Service
Address | Services Days | Service Hours
997 Cedar St. | N/A | As Needed
Six (6) Month Service
Service Needed | Address
Carpet cleaning/shampooing | 997 Cedar St.
VCT floor service (strip, wax & seal) | 997 Cedar St.
Annual Service
Service Needed | Address
Window cleaning inside and outside | 997 Cedar St.
Scope of Services #5 - Berkeley Police Department
Contractor shall schedule work to not interfere with business operations.
Service Schedule
Address | Frequency of daily/weekly services | Service Days | Service Hours
125 University Ave. | 5 days a week | Monday-Sunday | 24-hour Operations
Day Porter Service
Address | Services Days | Service Hours
125 University Ave. | N/A | As Needed
Six (6) Month Service
Service Needed | Address
Carpet cleaning/shampooing | 125 University Ave.
VCT floor service (strip, wax & seal) | 125 University Ave.
Annual Service
Service Needed | Address
Window cleaning inside and outside | 125 University Ave.
Scope of Services #6 - Office of the Director of Police Accountability (ODPA)
Contractor shall schedule work to not interfere with business operations.
Service Schedule
Address | Frequency of daily/weekly services | Service Days | Service Hours
2020 Milvia Ste. 250 (Temporary)
1900 Addison Ste. 300 & 350 | 5 days a week | M, T, W, Th, F | After 6pm
Day Porter Service
Address | Services Days | Service Hours
2020 Milvia Ste. 250 (Temporary) | N/A | As Needed
1900 Addison Ste. 300 & 350 | N/A | As Needed
Six (6) Month Service
Service Needed | Address
Carpet cleaning/shampooing | All Locations
VCT floor service (strip, wax & seal) | All Locations
Annual Service
Service Needed | Address
Window cleaning inside and outside | All Locations
Scope of Services #7 - Berkeley Public Library
Contractor shall schedule work to not interfere with business operations.
Service Schedule
Address | Frequency of daily/weekly services | Services Days | Service Hours
2090 Kittredge St. | 6 days a week | M, T, W, Th, F, S | After 4pm
1170 The Alameda | 7 days a week | Monday-Sunday | After 6pm
1901 Russell St. | 7 days a week | Monday-Sunday | After 6pm
1125 University Ave. | 6 days a week | M, T, W, Th, F, S | After 6pm
2940 Benvenue Ave. | 6 days a week | M, T, W, Th, F, S | After 6pm
Day Porter Service
Address* | Services Days | Service Hours
2090 Kittredge St. | M, T, W, Th, F, S | 12pm-8pm
1170 The Alameda
1901 Russell St.
1125 University Ave.
2940 Benvenue Ave.
*Request for day porter to rotate through all five Library locations
Six (6) Month Service
Service Needed | Address
Carpet cleaning/shampooing | All Locations
VCT floor service (strip, wax & seal) | All Locations
Annual Service
Service Needed | Address
Window cleaning inside and outside | All Locations

## SOS by Location
Special Requirements per SOS &/or location
Scopes of services (SOS) #1-7 each have special requirements and services to be scheduled, assigned and performed in addition to universal services (daily, daily bathroom, weekly, monthly and as needed). The following list of special requirement service needs is by scope of service (SOS) &/or location.
Scope of Services #1 - Health, Housing & Community Services (HHCS)
Contractor shall schedule work to not interfere with business operations.
Service Schedule
Address | Frequency of daily/weekly services | Service Days | Service Hours
All Locations | 5 days a week | M, T, W, Th, F | After 4pm
Day Porter Service
Address | Service Days | Service Hours
2636 Martin Luther King Jr. Way | M, T, W, Th, F | 9am-1pm
2640 Martin Luther King Jr. Way
Six (6) Month Service
Service Needed | Address
Carpet cleaning/shampooing | 2640 Martin Luther King Jr. Way
(April and October) | 1521 University Ave.
VCT floor service (strip, wax & seal) | Various Locations
Annual Service
Service Needed | Address
Window cleaning inside and outside | All Locations
Scope of Services #2 - Public Works
Contractor shall schedule work to not interfere with business operations.
Service Schedule
Address | Frequency of daily/weekly services | Services Days | Service Hours
1947 Center St. | 5 days a week | M, T, W, Th, F | After 6pm
1901 Hearst St. | 5 days a week | M, T, W, Th, F | After 7pm
2939 Ellis St. | 5 days a week | M, T, W, Th, F | After 7pm
1900 Sixth St. | 5 days a week | M, T, W, Th, F | After 7pm
1011 University Ave. | 5 days a week | M, T, W, Th, F | After 7pm
2100 Martin Luther King Jr. Way | 7 days a week | Monday-Sunday | 24-hour Operations
Day Porter Service
Address | Services Days | Service Hours
1947 Center St. | M, T, W, Th, F | 11am-3pm
2100 Martin Luther King Jr. Way | Monday-Sunday | 7am-3:30pm
2100 Martin Luther King Jr. Way | Monday-Sunday | 5pm-1:30am
Six (6) Month Service
Service Needed | Address
Carpet cleaning/shampooing | 1901 Hearst St. – various office space(s)
(April and October) | 2939 Ellis St. – various office space(s)
1011 University Ave. – various office space(s)
VCT floor service (strip, wax & seal) | 1901 Hearst St. – various office space(s)
2939 Ellis St. – various office space(s)
Annual Service
Service Needed | Address
Carpet cleaning/shampooing | 1901 Hearst St. – various office space(s)
(April and October) | 2939 Ellis St. – various office space(s)
1011 University Ave. – various office space(s)
VCT floor service (strip, wax & seal) | 1901 Hearst St. – various office space(s)
2939 Ellis St. – various office space(s)
Scope of Services #3 - Parks, Recreation and Marina Waterfront
Contractor shall schedule work to not interfere with business operations.
Service Schedule
Address | Frequency of daily/weekly services | Services Days | Service Hours
1720 Eighth St. | 5 days a week | M, T, W, Th, F | After 7pm
1301 Shattuck Ave. | 5 days a week | M, T, W, Th, F | After 7pm
2800 Park St. | 5 days a week | M, T, W, Th, F | After 7pm
1730 Oregon St. | 5 days a week | M, T, W, Th, F | After 7pm
2701 Telegraph Ave. | 5 days a week | M, T, W, Th, F | After 7pm
127 University Ave. | 2 days a week | T, Th | After 6pm
201 University Ave. | 2 days a week | T, Th | After 6pm
Marina/Shorebird/South Cove | 7 days a week | Monday-Sunday | 24-hour Operations
Day Porter Service
Address | Services Days | Service Hours
127 University Ave. | N/A | As Needed
201 University Ave. | N/A | As Needed
Marina/Shorebird/South Cove | N/A | As Needed
Six (6) Month Service
Service Needed | Address
Carpet cleaning/shampooing | Various Locations
VCT floor service (strip, wax & seal) | Various Locations
Window cleaning inside and outside | 127 University Ave.
201 University Ave.
Annual Service
Service Needed | Address
Summer seasonal day porter services to be scheduled | Shorebird South Cove
Scope of Services #4 - Berkeley Fire Department
Contractor shall schedule work to not interfere with business operations.
Service Schedule
Address | Frequency of daily/weekly services | Service Days | Service Hours
997 Cedar St. | 5 days a week | M, T, W, Th, F | After 10pm
Day Porter Service
Address | Services Days | Service Hours
997 Cedar St. | N/A | As Needed
Six (6) Month Service
Service Needed | Address
Carpet cleaning/shampooing | 997 Cedar St.
VCT floor service (strip, wax & seal) | 997 Cedar St.
Annual Service
Service Needed | Address
Window cleaning inside and outside | 997 Cedar St.
Scope of Services #5 - Berkeley Police Department
Contractor shall schedule work to not interfere with business operations.
Service Schedule
Address | Frequency of daily/weekly services | Service Days | Service Hours
125 University Ave. | 5 days a week | Monday-Sunday | 24-hour Operations
Day Porter Service
Address | Services Days | Service Hours
125 University Ave. | N/A | As Needed
Six (6) Month Service
Service Needed | Address
Carpet cleaning/shampooing | 125 University Ave.
VCT floor service (strip, wax & seal) | 125 University Ave.
Annual Service
Service Needed | Address
Window cleaning inside and outside | 125 University Ave.
Scope of Services #6 - Office of the Director of Police Accountability (ODPA)
Contractor shall schedule work to not interfere with business operations.
Service Schedule
Address | Frequency of daily/weekly services | Service Days | Service Hours
2020 Milvia Ste. 250 (Temporary)
1900 Addison Ste. 300 & 350 | 5 days a week | M, T, W, Th, F | After 6pm
Day Porter Service
Address | Services Days | Service Hours
2020 Milvia Ste. 250 (Temporary) | N/A | As Needed
1900 Addison Ste. 300 & 350 | N/A | As Needed
Six (6) Month Service
Service Needed | Address
Carpet cleaning/shampooing | All Locations
VCT floor service (strip, wax & seal) | All Locations
Annual Service
Service Needed | Address
Window cleaning inside and outside | All Locations
Scope of Services #7 - Berkeley Public Library
Contractor shall schedule work to not interfere with business operations.
Service Schedule
Address | Frequency of daily/weekly services | Services Days | Service Hours
2090 Kittredge St. | 6 days a week | M, T, W, Th, F, S | After 4pm
1170 The Alameda | 7 days a week | Monday-Sunday | After 6pm
1901 Russell St. | 7 days a week | Monday-Sunday | After 6pm
1125 University Ave. | 6 days a week | M, T, W, Th, F, S | After 6pm
2940 Benvenue Ave. | 6 days a week | M, T, W, Th, F, S | After 6pm
Day Porter Service
Address* | Services Days | Service Hours
2090 Kittredge St. | M, T, W, Th, F, S | 12pm-8pm
1170 The Alameda
1901 Russell St.
1125 University Ave.
2940 Benvenue Ave.
*Request for day porter to rotate through all five Library locations
Six (6) Month Service
Service Needed | Address
Carpet cleaning/shampooing | All Locations
VCT floor service (strip, wax & seal) | All Locations
Annual Service
Service Needed | Address
Window cleaning inside and outside | All Locations